## Conditions
The following information is also available from:
https://www.bodc.ac.uk/submit_data/submission_guidelines/deposit_conditions/
Data Deposit Conditions
In depositing data with BODC, you are agreeing to the following conditions:
You confirm that you are the data originator or have permission from the data originator to deposit the data with BODC and to agree to the terms of the BODC Deposit Conditions on their behalf.
The ownership of the data is not affected, i.e. it remains with the data originator or their institute.
You grant BODC permission to store the data and make the data available in perpetuity for all uses and re-uses that conform to the data policy of the agency that funded the creation of the data.
Note that, in the interests of making data as open as possible, BODC will not apply more restrictive access or use conditions than specified in the funder's data policy, and may apply less restrictive conditions if agreed with you at the time of deposit.
You grant BODC permission to, without changing content, translate the data to any medium or format for the purpose of future preservation and accessibility.
You confirm that you have read the following Privacy notice
Privacy Notice
In dealing with your data submissions, BODC will need to create a permanent, secure record of your contact details. The information will be used to enable BODC staff to contact you, should they have any questions about the data and/or metadata that you have supplied and to identify you as the data originator. Contact details include the following personal data as collected on the worksheet "Dataset overview".
name
organisation
country
email address
ORCid (if supplied)
We will take all reasonable precautions to protect your personal data from loss, misuse or alteration and only authorised BODC employees will have access to the information. Your name and organisation may be supplied to subsequent users of your data, to identify you as the data originator, so that you can be properly acknowledged or discuss co-authorship requirements with data users.

## Decision tree
Provide Mandatory Dataset Information:
(1) These information are required to provide a high level dataset overview
- this form must be completed and submitted with data file(s)
Physical samples:
(2b) Please complete
Sample data attributes
Provide details of the measurement attributes based on the type of data in submission file(s). Refer to the BODC submission guidelines webpage for details
In-situ sensor (e.g. ADCP, CTD)
(2a) Please complete
In-situ sensor data attributes
Level 1 Metadata
Level 2 Attributes
Idealised model:
(2c) Please complete
Idealised model overview
https://www.bodc.ac.uk/submit_data/submission_guidelines/

## CHECKLIST
Before submission, please ensure each of these boxes are ticked:
MOORING DATA |  | BOTTLE SAMPLES
Done (y/n) |  | Done (y/n)
| Data files are trimmed to match deployment and recovery dates and time | y | Data are displayed are in the agreed format
| Data columns for BODC ingestion have been clearly indicated in metadata sheet e.g primary data channels | y | All metadata have been included:
| It is clear which columns are primary and secondary channels. | y | Latitude
| Data are calibrated and calibration equations have been checked | y | Longitute
| If calibration has been applied, information on calibration has been supplied | y | Units
| Column headers are described plainly in metadata spreadsheet | y | Time
| Full abstract has been provided: Who, What, Where, When, Why, How | y | Date
| Complete information about the instrument is included in the metadata spreadsheet | y | Replicates have been averaged
| All data columns contain appropriate units |  | Column headers are described plainly in metadata spreadsheet
Full abstract has been provided: Who, What, Where, When, Why, How

## (1) Dataset overview
BODC Dataset Metadata Template version 2.4 - updated 28/06/2021
(1) | High level descriptive information about the dataset
* = must complete field. All other fields as appropriate.
* | Dataset title: | Bottle oxygen collected from CTD casts on cruise JC231 to the Porcupine Abyssal Plain Sustained Observatory (PAP-SO). |  |  |  | Should be descriptive to distinguish from similar datasets (e.g. "Micro-molar nutrient measurements from CTD niskin collected depth profiles along a north-south transect in the Atlantic Ocean on cruise AMT19/JC039" as opposed to "Nutrient data").
* | Author(s): | Anita Flohr, Sue Hartman |  |  |  | List of authors ("Other, A.N.") in the order they should be cited. Separate authors using ";".
* | Organisation(s): | National Oceanography Centre Southampton |  |  |  | Organisation(s) where the author(s) were when the dataset was generated. Separate organisations using ";".
| ORCid(s): |  |  |  |  | List of ORCid(s) in the order they are listed in the Author(s) field. Separate ORCids using ";". Specify as "<blank>" if not available. For details see: https://orcid.org/
* | Contact email(s): | anita.flohr@noc.ac.uk; s.hartman@noc.soton.ac.uk |  |  |  | To whom any questions about the dataset should be addressed.
| Additional contributors: | Edward Mawji, Eloise Savineau |  |  |  | Those who have helped in the collection of the data that are not included in the authors list. Separate contributors using ';'.
* | Project: | PAP CLASS |  |  |  | Project or grant that funded the collection and analyses of samples to generate the data set contents.
* | Project PI: | Penny Holliday, PSO Sue Hartman
* | Funded by: | NERC, CLASS |  |  |  | Organisation(s) that funded the project or grant under which the dataset was collected. Seperate multiple organisations using ';'.
* | Dataset abstract: | The dataset comprises oxygen data analysed on the Ti-Touch onboard RRS James Cook. Samples taken on CTD casts around PAP on JC231 2022. |  |  |  | Short summary covering why, who, where, when, what measurements are contained within and how the dataset was generated.
* | Temporal coverage - Start date: | 2022-05-02 | As format "yyyy-mm-dd".
* | End date: | 2022-05-15 | As format "yyyy-mm-dd".
* | Time zone of date/time in file: | UTC | e.g. UT, UT+1, ...
| If time-series - resolution of data: |  | e.g. Hourly, daily,weekly, monthly, yearly
|  | Degrees | Minutes | Limits to bounding box containing the data coverage.
* | Geographic coverage - N (top): | 49 | 0 | +ve = N; -ve = S
| S (bottom): |  |  | +ve = N; -ve = S
| E (right): |  |  | +ve = E; -ve = W
| W (left): | 16 | 30 | +ve = E; -ve = W
| Lat/Lon reference system: |  | e.g. WGS 84
| Lat/Lon precision/source: |  | e.g. GPS, chart, nominal station location
| Site/station names or identifier (for geographic locations that have been or are intended to be repeatedly visited for sampling): | PAP-SO |  |  |  |  | Are any of the locations visited repeatedly - have these locations been given names? If these are not well known repeat sampling sites (like e.g. PAP or L4) then please supply the official location and, if available, nominal water depth of these stations or a link to a document where the official location and water depth of the station has been published.
* | Original submission date: | 2022-09-02 | Date the data are sent to BODC. If this set of data set has been sent previously then please set this field to the date it was first submitted and provide details of the changes made and the date of data resubmission in the area provided below (see cell B55).
* | Dataset version: | 1
* | Additional document filename(s): | [5 empty] | Name of associated document containing additional details not covered in this file.
* | Data embargoed or public? | Public | To protect the research process NERC will allow those who undertake NERC-funded work a period to work exclusively on, and publish the results of, the data they have collected. This period will normally be a maximum of two years from the end of data collection.
| If embargoed, runs to when? | dd/mm/yyyy
* | Have these data been assigned a DOI already? | no | Please provide any DOIs in which these data have already been published in.
* | If the answer to the above is no, would you like a DOI created? | Yes | Once a DOI has been minted any existing embargo and/or access conditions are rendered void as the dataset will be available without restriction for anonymous download
| Type of sampling platform for in-situ sensors or sample collection: | Seafloor to sea surface mooring |  |  |  |  | e.g. research vessel, jetty, offshore structure, sub-surface mooring,...
| Platform name or ID: | PAP-SO
| Cruise/Deployment name or ID: | JC231
| Link to cruise report available? | [5 empty] | Please include link to cruise report if possible. UK cruise reports can be found at https://www.bodc.ac.uk/resources/inventories/cruise_inventory/search/.
* | Sampling protocol: | Dissolved oxygen (DO) samples were the first to be collected from the CTD rosette. Seawater was collected using a tube into pre-calibrated oxygen bottles. The bottles were rinsed out, flushed with seawater for approximately 3 times bottle volume and then filled from the Niskin bottle. Throughout the sampling process, care was taken to avoid bubble formation inside the sampling tube and sampling bottle. The fixing reagents (manganous chloride and alkalised sodium iodide solutions) were then immediately added, and the bottle sealed with a glass stopper, taking care not to introduce any air bubbles. Sample bottles were thoroughly mixed by shaking in order to homogenise the contents and then stored in a dark plastic crate for 30 to 40 minutes to allow the precipitate to settle. After settling the samples were thoroughly mixed for a second time in order to ensure that the reaction was complete. Analyses were carried out within four to eight hours of sample collection. Temperature of the Niskin bottles was taken separately with a Fisher Scientific temperature probe. |  |  |  |  | To cover: For in-situ sensors what set up was used to log data? For collected samples how was the sample collected for return to the laboratory? What volume was sampled and subsampled? How were the samples and subsamples treated? Were they filtered, preserved, fixed, stored etc prior to analysis? How long were samples stored and transported if appropriate? Include references as appropriate but please provide more than just a reference here and give full citation text in the section below . If a range of measurements have been collated that used different sampling protocols please use fields in (2a) or (2b) as appropriate.
* | Analytical protocol: | The chemical reagents were all prepared in advance at NOCS following the procedures described by Dickson (1994). When ready to titrate, the stopper of the flask was carefully removed, a clean magnetic stirrer was added and the flask was placed on the stir plate. Once the precipitate was well mixed 1 ml of 5M sulphuric acid was dispensed into the flask and the electrode and burette were carefully inserted to place the tips in the lower-middle depth of the sample flask. The initial volume of sodium thiosulfate (Na2S¬2O3) for each sample was 0.3 ml before continuing to be titrated at 0.0005 ml intervals using an electrode with amperometic end-point detection (Culberson and Huang, 1987) with an end current of 0.1 × 10−6 A. The resultant volume of titrant was recorded both by manual logging and on the Titrino (Metrohm). Following this the value was converted to a DO concentration. Thiosulfate calibrations and reagent blank checks were carried out for each sampling station following the GO-SHIP protocols (Langdon, 2010). At least 3 blank checks of the reagents and 3 standardisations of the sodium thiosulfate were completed using a 1.667 mmol l−1 certified iodate standard (OSIL) every cast. |  |  |  |  | To cover: For in-situ sensors how was the logged data processed? For collected samples how was the sample analysed back in the laboratory? Were there further treatment steps after storage and prior to analysis? What instruments (make/model/serial number) were used to make the measurements? Was any data processing required to turn instrument outputs into the measurements provided? If so please provide details of formulas, constants and references as appropriate. If a range of measurements have been collated that used different sampling protocols please use fields in (2a) or (2b) as appropriate.
* | Data quality comments: | none |  |  |  |  | Any recognised issues with the quality of the data set either as a whole or in part?
* | Absent data value: | no absent values |  |  |  |  | If data are missing use an improbable value (e.g.-999) or text (e.g.N/A), please do not leave blank cells. Indicate the value or text chosen here.
* | Quality Flag (QF) system: | Not applicable | If quality flags have been applied to individual samples please state which flagging convention has been used (e.g. BODC, ODV, WOCE etc). If you have used a custom flagging system please provide details of what each flag means in the appropriate section of sheet (2a) or (2b).
| Reference quoted |  |  | Full citation text
| Culberson, C.H. and Huang, S. (1987) |  |  | Culberson, C.H. and Huang, S. (1987). Automated amperometric oxygen titration. Deep-Sea Res. Pt A 34(5-6), 875-880. doi:10.1016/0198-0149(87)90042-2
| Dickson, A.G. (1994) |  |  | Dickson, A.G. (1994). Determination of dissolved oxygen in seawater by Winkler titration. Technical report, WOCE operations manual, WOCE report 68/91 Revision 1 November 1994.
| Langdon, C. (2010) |  |  | Langdon, C. (2010): Determination of dissolved oxygen in seawater by Winkler titration using the amperometric technique. IOCCP Report No. 14, ICPO Publication Series No. 134, Version 1, 2010.
References that describe the data within this dataset at time of submission
| External identifier |  |  | Relationship to the data |  | Full citation text
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
|  |  |  | [select] | The data submitted
| Revision date | Description of what has been added, deleted or revised from the previously submitted version

## (2a) In-situ sensor
BODC In-situ sensor Metadata Template version 2.1 - updated 18/06/2018
(2a) | Specific information about the content of the data file(s) provided.
* = must complete field. All other fields as appropriate.
If the following information is present in the data file(s) the following can be used as a checklist or populated below as a summary.
* | Binned data resolution: |  | e.g. 1 dbar, 30 seconds, …
|  | Column_A | Column_B | Column_C | Column_D | ... | ... | ... | … | ... | ...
* | Short title used in data file:
* | Full title:
* | Units:
* | Max. d.p. to be reported:
* | Contributor(s) responsible:
* | In-situ sensor make:
* | In-situ sensor model:
* | In-situ sensor serial number:
* | Post-processing calibration equation supplied:
* | Parameter measured or derived by calculation:
Derivation protocol reference:
Parameters used in calculation:
If protocols or data quality comments are more detailed than covered in the level 1 metadata form:
Sampling protocol:
Analytical protocol:
Data quality comments:
If reference materials were used as part of the analyses or calibrations:
Reference Material(s): Provide source(s) and batch number(s)
Accuracy (if calculated):
Precision (if calculated):
| Description | Quality flag

## (2b) Sample
BODC Sample Metadata Template version 2.1 - updated 18/06/2018
(2b) | Specific information about the content of the data file(s) provided.
* = must complete field. All other fields as appropriate.
If the following information is present in the data file(s) the following can be used as a checklist or populated below as a summary.
|  | Column_A | Column_B | Column_C | Column_D | ... | ... | ... | … | ... | ...
* | Short title used in data file: | Cruise | Sample_Date | Cruise_CTD | Niskin_Bottle | Depth_(m) | Vol_Thios_Blank_(mL) | Vol_Thios_Standard_(mL) | Fixing_Temp_(degC) | Bot_vol_at_Tfix_(mL) | Vol_Thios_Sample_(mL) | Iodate_(mol) | O2_(mol) | O2_(umol/L)
* | Full title: | Cruise ID | Sampling date | Cruis CTD # | Niskin bottle # | Depth | Vol of Thisoulfate for blank measurement | Vol of Thisoulfate for standard measurement | Temperature of sample at time of fixing | Vol of O2 bottle at fixing temperature | Vol of Thisoulfate for sample measurement | Molarity of Iodate standard | Molarity of dissolved oxygen in sample | Concentration of dissolved oxygen in sample
* | Units: |  |  |  |  | m | mL | mL | degC | mL | mL | mol | mol | umol/L
* | Max. decimal points to be reported: | 3
* | Samples collected per measurement: | 1
* | Analytical replicates run per sample: | 0-2
* | Does data file contain replicate data? | yes
* | Are these replicate samples or replicate analysis? | replicate samples
| Contributor(s) responsible: | Anita Flohr, Sue Hartman
Sample collection device make:
Sample collection device model:
Sample collection device serial number:
A full description if the sampling device if it was custom made:
Analytical instrument make:
| Analytical instrument model: | Metrohm Ti-touch 916
| Analytical instrument serial number: | S/N: 30107
Analytical instrument detection limit:
| If uncertainty has been calculated, how was it derived? | Precision was determined by analysing duplicate and replicate samples. Standard deviations (SD) of duplicate samples (same niskin) ranged from ±0.0 to ±0.50 μmol L-1 O2 (average: ±0.15 μmol L-1, median: ±0.13 μmol L-1, n=25). Standard deviations of replicate samples (different niskin, same depth) ranged from ±0.0 to ±0.81 μmol L-1 O2 (average: ±0.19 μmol L-1, median: ±0.10 μmol L-1, n=26).
| Parameter measured or derived from calculation: | Measured | Derived | Measured
| Derivation protocol reference: | Not applicable |  | Not applicable
| Parameters used in calculation: | Not applicable |  | Not applicable
If protocols or data quality comments are more detailed than covered in the level 1 metadata form:
Sampling protocol:
Analytical protocol:
Data quality comments:
For chemical compounds please provide one or both of:
CAS Registry Number: http://www.cas.org/content/chemical-substances/faqs
ChEBI ID: http://www.ebi.ac.uk/chebi/
For biological data please confirm the taxonomy by providing one or both of:
ITIS number: http://www.itis.gov/
AphiaID: http://www.marinespecies.org/index.php
If reference materials were used as part of the analyses:
| Reference Material(s): Provide source(s) and batch number(s) | OSIL IODATE STANDARDS
Accuracy (if calculated):
| Precision (if calculated): | Standard deviations (SD) of duplicate samples (same niskin) ranged from ±0.0 to ±0.50 μmol L-1 O2 (average: ±0.15 μmol L-1, median: ±0.13 μmol L-1, n=25). Standard deviations of replicate samples (different niskin, same depth) ranged from ±0.0 to ±0.81 μmol L-1 O2 (average: ±0.19 μmol L-1, median: ±0.10 μmol L-1, n=26).
|  | Cruise | Sample_Date | Cruise_CTD | Niskin_Bottle | Depth_(m) | Vol_Thios_Blank_(mL) | Vol_Thios_Standard_(mL) | Fixing_Temp_(degC) | Bot_vol_at_Tfix_(mL) | Vol_Thios_Sample_(mL) | Iodate_(mol) | O2_(mol) | O2_(umol/L)
|  | JC231 | 2022-05-02 | JC231-001 | 1 | 1850 | 0.0022 | 0.45525 | 5.8 | 138.9982 | 1.2585 | 0.001667 | 3.4669e-05 | 248.8753
|  | JC231 | 2022-05-02 | JC231-001 | 2 | 1850 | 0.0022 | 0.45525 | 5.8 | 140.6263 | 1.2715 | 0.001667 | 3.5028e-05 | 248.5451
|  | JC231 | 2022-05-02 | JC231-001 | 4 | 1500 | 0.0022 | 0.45525 | 6.7 | 139.8209 | 1.2165 | 0.001667 | 3.351e-05 | 239.1214
|  | JC231 | 2022-05-02 | JC231-001 | 5 | 1500 | 0.0022 | 0.45525 | 6.7 | 137.7405 | 1.1985 | 0.001667 | 3.3013e-05 | 239.1267
|  | JC231 | 2022-05-02 | JC231-001 | 6 | 1500 | 0.0022 | 0.45525 | 6.7 | 139.4764 | 1.213 | 0.001667 | 3.3414e-05 | 239.0196
|  | JC231 | 2022-05-02 | JC231-001 | 7 | 700 | 0.0022 | 0.45525 | 10.1 | 138.4821 | 1.022 | 0.001667 | 2.8143e-05 | 202.6738
|  | JC231 | 2022-05-02 | JC231-001 | 8 | 700 | 0.0022 | 0.45525 | 10.1 | 139.4025 | 1.0285 | 0.001667 | 2.8322e-05 | 202.6225
|  | JC231 | 2022-05-02 | JC231-001 | 10 | 350 | 0.0022 | 0.45525 | 10.9 | 136.1844 | 1.1485 | 0.001667 | 3.1634e-05 | 231.7271
|  | JC231 | 2022-05-02 | JC231-001 | 11 | 350 | 0.0022 | 0.45525 | 10.9 | 137.4878 | 1.163 | 0.001667 | 3.2034e-05 | 232.4407
|  | JC231 | 2022-05-02 | JC231-001 | 13 | 200 | 0.0022 | 0.45525 | 11.5 | 135.6586 | 1.2385 | 0.001667 | 3.4117e-05 | 250.9336
|  | JC231 | 2022-05-02 | JC231-001 | 13 | 200 | 0.0022 | 0.45525 | 11.5 | 138.1485 | 1.2615 | 0.001667 | 3.4752e-05 | 251.0053
|  | JC231 | 2022-05-02 | JC231-001 | 17 | 55 | 0.0022 | 0.45525 | 12.2 | 140.296 | 1.3775 | 0.001667 | 3.7953e-05 | 269.9804
|  | JC231 | 2022-05-02 | JC231-001 | 19 | 15 | 0.0022 | 0.45525 | 13.2 | 139.8144 | 1.4305 | 0.001667 | 3.9416e-05 | 281.3716
|  | JC231 | 2022-05-02 | JC231-001 | 20 | 15 | 0.0022 | 0.45525 | 13.2 | 138.7973 | 1.4205 | 0.001667 | 3.914e-05 | 281.4451
|  | JC231 | 2022-05-04 | JC231-002 | 1 | 4816 | 0.0006 | 0.4556 | 4 | 138.9957 | 1.253 | 0.001667 | 3.4413e-05 | 247.0398
|  | JC231 | 2022-05-04 | JC231-002 | 2 | 4816 | 0.0006 | 0.4556 | 4.1 | 140.6239 | 1.2655 | 0.001667 | 3.4757e-05 | 246.622
|  | JC231 | 2022-05-04 | JC231-002 | 4 | 4500 | 0.0006 | 0.4556 | 4.2 | 138.4738 | 1.249 | 0.001667 | 3.4304e-05 | 247.1771
|  | JC231 | 2022-05-04 | JC231-002 | 6 | 4000 | 0.0006 | 0.4556 | 4.2 | 137.737 | 1.2475 | 0.001667 | 3.4262e-05 | 248.2001
|  | JC231 | 2022-05-04 | JC231-002 | 7 | 3500 | 0.0006 | 0.4556 | 4.3 | 140.2848 | 1.287 | 0.001667 | 3.5348e-05 | 251.4294
|  | JC231 | 2022-05-04 | JC231-002 | 9 | 3000 | 0.0006 | 0.4556 | 4.5 | 136.1756 | 1.281 | 0.001667 | 3.5183e-05 | 257.8058
|  | JC231 | 2022-05-04 | JC231-002 | 9 | 3000 | 0.0006 | 0.4556 | 4.8 | 139.395 | 1.3095 | 0.001667 | 3.5966e-05 | 257.4697
|  | JC231 | 2022-05-04 | JC231-002 | 11 | 2500 | 0.0006 | 0.4556 | 5.2 | 137.4799 | 1.379 | 0.001667 | 3.7876e-05 | 274.9472
|  | JC231 | 2022-05-04 | JC231-002 | 12 | 2000 | 0.0006 | 0.4556 | 5.3 | 135.65 | 1.3845 | 0.001667 | 3.8027e-05 | 279.7702
|  | JC231 | 2022-05-04 | JC231-002 | 13 | 1800 | 0.0006 | 0.4556 | 5.3 | 138.1398 | 1.428 | 0.001667 | 3.9222e-05 | 283.3804
|  | JC231 | 2022-05-04 | JC231-002 | 15 | 900 | 0.0006 | 0.4556 | 8.7 | 136.372 | 1.015 | 0.001667 | 2.7874e-05 | 203.8373
|  | JC231 | 2022-05-04 | JC231-002 | 16 | 750 | 0.0006 | 0.4556 | 9.3 | 139.8246 | 1.005 | 0.001667 | 2.7599e-05 | 196.8389
|  | JC231 | 2022-05-04 | JC231-002 | 17 | 750 | 0.0006 | 0.4556 | 9.4 | 139.809 | 1.0055 | 0.001667 | 2.7613e-05 | 196.9592
|  | JC231 | 2022-05-04 | JC231-002 | 19 | 250 | 0.0006 | 0.4556 | 11.5 | 139.4832 | 1.3065 | 0.001667 | 3.5884e-05 | 256.7159
|  | JC231 | 2022-05-04 | JC231-002 | 21 | 100 | 0.0006 | 0.4556 | 12 | 136.3668 | 1.308 | 0.001667 | 3.5925e-05 | 262.8848
|  | JC231 | 2022-05-04 | JC231-002 | 23 | 20 | 0.0006 | 0.4556 | 13.3 | 137.0531 | 1.4115 | 0.001667 | 3.8769e-05 | 282.3194
|  | JC231 | 2022-05-05 | JC231-003 | 1 | 200 | 0.0016 | 0.45525 | 11.7 | 137.0645 | 1.2455 | 0.001667 | 3.4282e-05 | 249.5586
|  | JC231 | 2022-05-05 | JC231-003 | 2 | 200 | 0.0016 | 0.45525 | 11.8 | 137.968 | 1.255 | 0.001667 | 3.4543e-05 | 249.822
|  | JC231 | 2022-05-05 | JC231-003 | 3 | 200 | 0.0016 | 0.45525 | 11.8 | 141.8997 | 1.289 | 0.001667 | 3.548e-05 | 249.5035
|  | JC231 | 2022-05-05 | JC231-003 | 4 | 200 | 0.0016 | 0.45525 | 11.4 | 138.1364 | 1.253 | 0.001667 | 3.4488e-05 | 249.1184
|  | JC231 | 2022-05-05 | JC231-003 | 5 | 200 | 0.0016 | 0.45525 | 11.6 | 141.4657 | 1.28 | 0.001667 | 3.5232e-05 | 248.5156
|  | JC231 | 2022-05-05 | JC231-003 | 6 | 150 | 0.0016 | 0.45525 | 11.7 | 139.0066 | 1.296 | 0.001667 | 3.5673e-05 | 256.0843
|  | JC231 | 2022-05-05 | JC231-003 | 10 | 100 | 0.0016 | 0.45525 | 11.9 | 140.635 | 1.338 | 0.001667 | 3.6831e-05 | 261.3496
|  | JC231 | 2022-05-05 | JC231-003 | 12 | 75 | 0.0016 | 0.45525 | 12 | 138.4848 | 1.3265 | 0.001667 | 3.6514e-05 | 263.1189
|  | JC231 | 2022-05-05 | JC231-003 | 12 | 75 | 0.0016 | 0.45525 | 12 | 137.7479 | 1.323 | 0.001667 | 3.6418e-05 | 263.8262
|  | JC231 | 2022-05-05 | JC231-003 | 13 | 75 | 0.0016 | 0.45525 | 12 | 140.2958 | 1.347 | 0.001667 | 3.7079e-05 | 263.7496
|  | JC231 | 2022-05-05 | JC231-003 | 14 | 50 | 0.0016 | 0.45525 | 12.3 | 136.1864 | 1.3485 | 0.001667 | 3.712e-05 | 272.0117
|  | JC231 | 2022-05-05 | JC231-003 | 16 | 30 | 0.0016 | 0.45525 | 12.8 | 139.4063 | 1.403 | 0.001667 | 3.8622e-05 | 276.5033
|  | JC231 | 2022-05-05 | JC231-003 | 16 | 30 | 0.0016 | 0.45525 | 12.8 | 138.7967 | 1.397 | 0.001667 | 3.8457e-05 | 276.5262
|  | JC231 | 2022-05-05 | JC231-003 | 17 | 30 | 0.0016 | 0.45525 | 12.9 | 137.4906 | 1.387 | 0.001667 | 3.8181e-05 | 277.1486
|  | JC231 | 2022-05-05 | JC231-003 | 18 | 30 | 0.0016 | 0.45525 | 12.9 | 135.6605 | 1.37 | 0.001667 | 3.7713e-05 | 277.4339
|  | JC231 | 2022-05-05 | JC231-003 | 19 | 10 | 0.0016 | 0.45525 | 13.6 | 138.1515 | 1.4325 | 0.001667 | 3.9435e-05 | 284.8997
|  | JC231 | 2022-05-05 | JC231-003 | 20 | 10 | 0.0016 | 0.45525 | 13.6 | 136.3788 | 1.415 | 0.001667 | 3.8953e-05 | 285.0664
|  | JC231 | 2022-05-05 | JC231-003 | 21 | 10 | 0.0016 | 0.45525 | 13.6 | 139.8307 | 1.45 | 0.001667 | 3.9918e-05 | 284.9274
|  | JC231 | 2022-05-05 | JC231-003 | 22 | 5 | 0.0016 | 0.45525 | 14.2 | 139.487 | 1.419 | 0.001667 | 3.9063e-05 | 279.5046
|  | JC231 | 2022-05-05 | JC231-003 | 23 | 5 | 0.0016 | 0.45525 | 14.1 | 136.3697 | 1.393 | 0.001667 | 3.8347e-05 | 280.6392
|  | JC231 | 2022-05-05 | JC231-003 | 24 | 5 | 0.0016 | 0.45525 | 14.1 | 135.5505 | 1.3845 | 0.001667 | 3.8112e-05 | 280.6071
|  | JC231 | 2022-05-06 | JC231-004 | 1 | 4810 | 0.0033 | 0.4576 | 4.3 | 139.8017 | 1.26 | 0.001667 | 3.4585e-05 | 246.8413
|  | JC231 | 2022-05-06 | JC231-004 | 2 | 4500 | 0.0033 | 0.4576 | 4.4 | 138.9963 | 1.255 | 0.001667 | 3.4447e-05 | 247.2817
|  | JC231 | 2022-05-06 | JC231-004 | 3 | 4000 | 0.0033 | 0.4576 | 4.4 | 141.4554 | 1.28 | 0.001667 | 3.5135e-05 | 247.8466
|  | JC231 | 2022-05-06 | JC231-004 | 4 | 3000 | 0.0033 | 0.4576 | 4.8 | 138.4747 | 1.3105 | 0.001667 | 3.5975e-05 | 259.2432
|  | JC231 | 2022-05-06 | JC231-004 | 4 | 3000 | 0.0033 | 0.4576 | 4.8 | 139.395 | 1.32 | 0.001667 | 3.6236e-05 | 259.4072
|  | JC231 | 2022-05-06 | JC231-004 | 5 | 2000 | 0.0033 | 0.4576 | 5.4 | 138.14 | 1.409 | 0.001667 | 3.8685e-05 | 279.4946
|  | JC231 | 2022-05-06 | JC231-004 | 6 | 1000 | 0.0033 | 0.4576 | 8 | 136.1804 | 1.0785 | 0.001667 | 2.959e-05 | 216.7264
|  | JC231 | 2022-05-06 | JC231-004 | 7 | 600 | 0.0033 | 0.4576 | 9.9 | 137.745 | 1.0435 | 0.001667 | 2.8627e-05 | 207.272
|  | JC231 | 2022-05-06 | JC231-004 | 7 | 600 | 0.0033 | 0.4576 | 9.9 | 138.7926 | 1.0525 | 0.001667 | 2.8874e-05 | 207.492
|  | JC231 | 2022-05-06 | JC231-004 | 9 | 400 | 0.0033 | 0.4576 | 10.9 | 137.4878 | 1.172 | 0.001667 | 3.2163e-05 | 233.381
|  | JC231 | 2022-05-06 | JC231-004 | 11 | 250 | 0.0033 | 0.4576 | 11.4 | 140.6343 | 1.3065 | 0.001667 | 3.5865e-05 | 254.4794
|  | JC231 | 2022-05-06 | JC231-004 | 13 | 100 | 0.0033 | 0.4576 | 11.9 | 136.3771 | 1.2945 | 0.001667 | 3.5534e-05 | 260.0018
|  | JC231 | 2022-05-06 | JC231-004 | 15 | 50 | 0.0033 | 0.4576 | 12.4 | 139.8297 | 1.393 | 0.001667 | 3.8245e-05 | 272.968
|  | JC231 | 2022-05-06 | JC231-004 | 17 | 30 | 0.0033 | 0.4576 | 12.9 | 135.6624 | 1.3895 | 0.001667 | 3.8149e-05 | 280.6431
|  | JC231 | 2022-05-06 | JC231-004 | 19 | 10 | 0.0033 | 0.4576 | 14.3 | 139.4873 | 1.419 | 0.001667 | 3.8961e-05 | 278.7679
|  | JC231 | 2022-05-06 | JC231-004 | 21 | 5 | 0.0033 | 0.4576 | 14.4 | 140.2837 | 1.4245 | 0.001667 | 3.9112e-05 | 278.2643
|  | JC231 | 2022-05-08 | JC231-005 | 1 | 4810 | 0.0026 | 0.4576 | 3.5 | 136.3648 | 1.2295 | 0.001667 | 3.3713e-05 | 246.6676
|  | JC231 | 2022-05-08 | JC231-005 | 2 | 4250 | 0.0026 | 0.4583 | 3.5 | 136.3551 | 1.2335 | 0.001667 | 3.3771e-05 | 247.1103
|  | JC231 | 2022-05-08 | JC231-005 | 2 | 4250 | 0.0026 | 0.4583 | 3.5 | 137.7362 | 1.245 | 0.001667 | 3.4086e-05 | 246.9231
|  | JC231 | 2022-05-08 | JC231-005 | 3 | 4000 | 0.0026 | 0.4583 | 3.6 | 141.4544 | 1.279 | 0.001667 | 3.5019e-05 | 247.0271
|  | JC231 | 2022-05-08 | JC231-005 | 4 | 3750 | 0.0026 | 0.4583 | 3.7 | 138.4734 | 1.26 | 0.001667 | 3.4498e-05 | 248.5805
|  | JC231 | 2022-05-08 | JC231-005 | 4 | 3750 | 0.0026 | 0.4583 | 3.9 | 139.817 | 1.2715 | 0.001667 | 3.4813e-05 | 248.4484
|  | JC231 | 2022-05-08 | JC231-005 | 5 | 3500 | 0.0026 | 0.4583 | 3.9 | 138.1382 | 1.269 | 0.001667 | 3.4745e-05 | 250.9713
|  | JC231 | 2022-05-08 | JC231-005 | 6 | 3250 | 0.0026 | 0.4583 | 4.1 | 136.175 | 1.266 | 0.001667 | 3.4662e-05 | 253.9849
|  | JC231 | 2022-05-08 | JC231-005 | 7 | 3000 | 0.0026 | 0.4583 | 4.1 | 139.4731 | 1.316 | 0.001667 | 3.6034e-05 | 257.8146
|  | JC231 | 2022-05-08 | JC231-005 | 8 | 2750 | 0.0026 | 0.4583 | 4.4 | 138.7849 | 1.335 | 0.001667 | 3.6555e-05 | 262.8491
|  | JC231 | 2022-05-08 | JC231-005 | 8 | 2750 | 0.0026 | 0.4583 | 4.4 | 135.5373 | 1.3045 | 0.001667 | 3.5719e-05 | 262.9732
|  | JC231 | 2022-05-08 | JC231-005 | 9 | 2500 | 0.0026 | 0.4583 | 4.5 | 140.6247 | 1.387 | 0.001667 | 3.7982e-05 | 269.5553
|  | JC231 | 2022-05-08 | JC231-005 | 10 | 2250 | 0.0026 | 0.4583 | 4.7 | 137.4795 | 1.38 | 0.001667 | 3.779e-05 | 274.3252
|  | JC231 | 2022-05-08 | JC231-005 | 11 | 2000 | 0.0026 | 0.4583 | 4.9 | 139.8029 | 1.4345 | 0.001667 | 3.9285e-05 | 280.4616
|  | JC231 | 2022-05-08 | JC231-005 | 12 | 1750 | 0.0026 | 0.4583 | 5.1 | 135.6498 | 1.4 | 0.001667 | 3.8339e-05 | 282.0706
|  | JC231 | 2022-05-08 | JC231-005 | 12 | 1750 | 0.0026 | 0.4583 | 5.1 | 139.396 | 1.4385 | 0.001667 | 3.9395e-05 | 282.0676
|  | JC231 | 2022-05-08 | JC231-005 | 13 | 1500 | 0.0026 | 0.4583 | 5.5 | 140.2874 | 1.3885 | 0.001667 | 3.8023e-05 | 270.4969
|  | JC231 | 2022-05-08 | JC231-005 | 14 | 1250 | 0.0026 | 0.4583 | 6.1 | 139.0015 | 1.2795 | 0.001667 | 3.5033e-05 | 251.485
|  | JC231 | 2022-05-08 | JC231-005 | 15 | 1000 | 0.0026 | 0.4583 | 8.1 | 138.7856 | 1.0835 | 0.001667 | 2.9655e-05 | 213.13
|  | JC231 | 2022-05-08 | JC231-005 | 16 | 750 | 0.0026 | 0.4583 | 9.7 | 142.7695 | 1.0245 | 0.001667 | 2.8037e-05 | 195.8448
|  | JC231 | 2022-05-08 | JC231-005 | 17 | 600 | 0.0026 | 0.4583 | 10.1 | 139.1071 | 1.058 | 0.001667 | 2.8956e-05 | 207.6081
|  | JC231 | 2022-05-08 | JC231-005 | 18 | 500 | 0.0026 | 0.4583 | 10.6 | 137.6766 | 1.133 | 0.001667 | 3.1013e-05 | 224.711
|  | JC231 | 2022-05-08 | JC231-005 | 20 | 100 | 0.0026 | 0.4583 | 12.1 | 140.8807 | 1.3475 | 0.001667 | 3.6898e-05 | 261.3731
|  | JC231 | 2022-05-08 | JC231-005 | 21 | 50 | 0.0026 | 0.4583 | 12.1 | 139.5331 | 1.379 | 0.001667 | 3.7763e-05 | 270.0911
|  | JC231 | 2022-05-10 | JC231-006 | 1 | 1000 | 0.0043 | 0.4595 | 8 | 136.3613 | 1.059 | 0.001667 | 2.8968e-05 | 211.8808
|  | JC231 | 2022-05-10 | JC231-006 | 2 | 1000 | 0.0043 | 0.4595 | 8 | 137.7423 | 1.0715 | 0.001667 | 2.9312e-05 | 212.2489
|  | JC231 | 2022-05-10 | JC231-006 | 3 | 1000 | 0.0043 | 0.4595 | 8 | 141.462 | 1.0955 | 0.001667 | 2.9971e-05 | 211.3277
|  | JC231 | 2022-05-10 | JC231-006 | 4 | 800 | 0.0043 | 0.4595 | 9 | 138.4824 | 1.0035 | 0.001667 | 2.7444e-05 | 197.6278
|  | JC231 | 2022-05-10 | JC231-006 | 5 | 600 | 0.0043 | 0.4595 | 10.3 | 139.827 | 1.0975 | 0.001667 | 3.0026e-05 | 214.1916
|  | JC231 | 2022-05-10 | JC231-006 | 7 | 400 | 0.0043 | 0.4595 | 11 | 138.1487 | 1.21 | 0.001667 | 3.3116e-05 | 239.1604
|  | JC231 | 2022-05-10 | JC231-006 | 9 | 250 | 0.0043 | 0.4595 | 11.6 | 139.4837 | 1.2885 | 0.001667 | 3.5272e-05 | 252.3289
|  | JC231 | 2022-05-10 | JC231-006 | 11 | 150 | 0.0043 | 0.4595 | 11.9 | 136.1861 | 1.2835 | 0.001667 | 3.5134e-05 | 257.4304
|  | JC231 | 2022-05-10 | JC231-006 | 13 | 100 | 0.0043 | 0.4595 | 12.1 | 138.7957 | 1.3105 | 0.001667 | 3.5876e-05 | 257.9332
|  | JC231 | 2022-05-10 | JC231-006 | 14 | 100 | 0.0043 | 0.4595 | 12.1 | 135.5482 | 1.28 | 0.001667 | 3.5038e-05 | 257.9327
|  | JC231 | 2022-05-10 | JC231-006 | 15 | 50 | 0.0043 | 0.4595 | 12.4 | 140.6373 | 1.366 | 0.001667 | 3.74e-05 | 265.3946
|  | JC231 | 2022-05-10 | JC231-006 | 17 | 30 | 0.0043 | 0.4595 | 13.5 | 138.1398 | 1.3825 | 0.001667 | 3.7854e-05 | 273.4735
|  | JC231 | 2022-05-10 | JC231-006 | 18 | 10 | 0.0043 | 0.4595 | 13.8 | 135.6617 | 1.3585 | 0.001667 | 3.7194e-05 | 273.6099
|  | JC231 | 2022-05-10 | JC231-006 | 19 | 10 | 0.0043 | 0.4595 | 13.8 | 139.4077 | 1.3965 | 0.001667 | 3.8238e-05 | 273.7445
|  | JC231 | 2022-05-10 | JC231-006 | 20 | 5 | 0.0043 | 0.4595 | 13.8 | 140.2842 | 1.404 | 0.001667 | 3.8444e-05 | 273.5025
|  | JC231 | 2022-05-11 | JC231-007 | 1 | 4827 | 0.0028 | 0.4578 | 3.9 | 136.3654 | 1.2295 | 0.001667 | 3.3707e-05 | 246.6263
|  | JC231 | 2022-05-11 | JC231-007 | 2 | 4810 | 0.0028 | 0.4578 | 4 | 137.7368 | 1.242 | 0.001667 | 3.4051e-05 | 246.6645
|  | JC231 | 2022-05-11 | JC231-007 | 3 | 4800 | 0.0028 | 0.4578 | 4 | 141.455 | 1.2725 | 0.001667 | 3.4889e-05 | 246.1055
|  | JC231 | 2022-05-11 | JC231-007 | 4 | 4500 | 0.0028 | 0.4578 | 4.1 | 138.4737 | 1.251 | 0.001667 | 3.4298e-05 | 247.1377
|  | JC231 | 2022-05-11 | JC231-007 | 5 | 4200 | 0.0028 | 0.4578 | 4.1 | 139.8174 | 1.2645 | 0.001667 | 3.4669e-05 | 247.4157
|  | JC231 | 2022-05-11 | JC231-007 | 6 | 4000 | 0.0028 | 0.4578 | 4.2 | 139.4728 | 1.2635 | 0.001667 | 3.4642e-05 | 247.8299
|  | JC231 | 2022-05-11 | JC231-007 | 6 | 4000 | 0.0028 | 0.4578 | 4.2 | 138.1383 | 1.253 | 0.001667 | 3.4353e-05 | 248.1356
|  | JC231 | 2022-05-11 | JC231-007 | 7 | 4000 | 0.0028 | 0.4578 | 4.2 | 136.1756 | 1.235 | 0.001667 | 3.3858e-05 | 248.0799
|  | JC231 | 2022-05-11 | JC231-007 | 10 | 3000 | 0.0028 | 0.4578 | 4.5 | 138.7859 | 1.31 | 0.001667 | 3.5919e-05 | 258.2631
|  | JC231 | 2022-05-11 | JC231-007 | 13 | 2000 | 0.0028 | 0.4578 | 5.1 | 135.5423 | 1.3855 | 0.001667 | 3.7994e-05 | 279.7493
|  | JC231 | 2022-05-11 | JC231-007 | 16 | 1000 | 0.0028 | 0.4578 | 8.1 | 140.6336 | 1.0995 | 0.001667 | 3.0135e-05 | 213.7409
|  | JC231 | 2022-05-11 | JC231-007 | 18 | 500 | 0.0028 | 0.4578 | 10.9 | 138.1384 | 1.174 | 0.001667 | 3.2182e-05 | 232.421
|  | JC231 | 2022-05-11 | JC231-007 | 20 | 55 | 0.0028 | 0.4578 | 12.8 | 139.8145 | 1.3915 | 0.001667 | 3.8159e-05 | 272.3804
|  | JC231 | 2022-05-11 | JC231-007 | 21 | 45 | 0.0028 | 0.4578 | 13.3 | 135.6619 | 1.36 | 0.001667 | 3.7293e-05 | 274.3378
|  | JC231 | 2022-05-11 | JC231-007 | 22 | 30 | 0.0028 | 0.4578 | 13.9 | 139.4078 | 1.3785 | 0.001667 | 3.7802e-05 | 270.6126
|  | JC231 | 2022-05-11 | JC231-007 | 23 | 10 | 0.0028 | 0.4578 | 13.9 | 140.2985 | 1.385 | 0.001667 | 3.798e-05 | 270.1678
|  | JC231 | 2022-05-11 | JC231-007 | 24 | 5 | 0.0028 | 0.4578 | 13.9 | 138.9956 | 1.3725 | 0.001667 | 3.7637e-05 | 270.2291
|  | JC231 | 2022-05-13 | JC231-008 | 1 | 4827 | 0.003 | 0.4573 | 3.9 | 136.3558 | 1.233 | 0.001667 | 3.385e-05 | 247.6906
|  | JC231 | 2022-05-13 | JC231-008 | 2 | 4198 | 0.003 | 0.4573 | 4 | 137.7369 | 1.2475 | 0.001667 | 3.4249e-05 | 248.1041
|  | JC231 | 2022-05-13 | JC231-008 | 3 | 4198 | 0.003 | 0.4573 | 4.1 | 137.6655 | 1.2475 | 0.001667 | 3.4249e-05 | 248.2327
|  | JC231 | 2022-05-13 | JC231-008 | 5 | 3461 | 0.003 | 0.4573 | 4.2 | 138.4751 | 1.2725 | 0.001667 | 3.4937e-05 | 251.7499
|  | JC231 | 2022-05-13 | JC231-008 | 7 | 1850 | 0.003 | 0.4573 | 5.1 | 139.8029 | 1.435 | 0.001667 | 3.9409e-05 | 281.3473
|  | JC231 | 2022-05-13 | JC231-008 | 7 | 1850 | 0.003 | 0.4573 | 5.1 | 138.1396 | 1.418 | 0.001667 | 3.8941e-05 | 281.3482
|  | JC231 | 2022-05-13 | JC231-008 | 8 | 1850 | 0.003 | 0.4573 | 5.1 | 139.4788 | 1.433 | 0.001667 | 3.9354e-05 | 281.6064
|  | JC231 | 2022-05-13 | JC231-008 | 11 | 940 | 0.003 | 0.4573 | 8.4 | 142.7684 | 1.0775 | 0.001667 | 2.9571e-05 | 206.5907
|  | JC231 | 2022-05-13 | JC231-008 | 13 | 755 | 0.003 | 0.4573 | 9.4 | 138.7919 | 1.003 | 0.001667 | 2.752e-05 | 197.7374
|  | JC231 | 2022-05-13 | JC231-008 | 14 | 755 | 0.003 | 0.4573 | 9.4 | 135.5454 | 0.9815 | 0.001667 | 2.6929e-05 | 198.1083
|  | JC231 | 2022-05-13 | JC231-008 | 17 | 598 | 0.003 | 0.4573 | 10.4 | 136.377 | 1.0765 | 0.001667 | 2.9543e-05 | 216.071
|  | JC231 | 2022-05-13 | JC231-008 | 19 | 109 | 0.003 | 0.4573 | 12.3 | 138.1382 | 1.306 | 0.001667 | 3.5859e-05 | 259.0379
|  | JC231 | 2022-05-13 | JC231-008 | 21 | 50 | 0.003 | 0.4573 | 12.7 | 139.8296 | 1.376 | 0.001667 | 3.7785e-05 | 269.6815
|  | JC231 | 2022-05-13 | JC231-008 | 22 | 43 | 0.003 | 0.4573 | 12.8 | 141.469 | 1.3955 | 0.001667 | 3.8322e-05 | 270.3496
|  | JC231 | 2022-05-13 | JC231-008 | 23 | 18 | 0.003 | 0.4573 | 13.9 | 139.408 | 1.379 | 0.001667 | 3.7868e-05 | 271.0893
|  | JC231 | 2022-05-13 | JC231-008 | 24 | 10 | 0.003 | 0.4573 | 14 | 141.0309 | 1.3885 | 0.001667 | 3.8129e-05 | 269.8236
|  | JC231 | 2022-05-14 | JC231-009 | 1 | 1000 | 0.0021 | 0.4553 | 8 | 136.3614 | 1.0505 | 0.001667 | 2.8922e-05 | 211.5435
|  | JC231 | 2022-05-14 | JC231-009 | 2 | 1000 | 0.0021 | 0.4553 | 8.1 | 140.2935 | 1.0785 | 0.001667 | 2.9695e-05 | 211.1204
|  | JC231 | 2022-05-14 | JC231-009 | 4 | 600 | 0.0021 | 0.4553 | 10.4 | 137.7457 | 1.1095 | 0.001667 | 3.055e-05 | 221.2339
|  | JC231 | 2022-05-14 | JC231-009 | 5 | 600 | 0.0021 | 0.4553 | 10.4 | 137.6754 | 1.1095 | 0.001667 | 3.055e-05 | 221.3468
|  | JC231 | 2022-05-14 | JC231-009 | 6 | 400 | 0.0021 | 0.4553 | 11.3 | 138.4838 | 1.252 | 0.001667 | 3.4481e-05 | 248.442
|  | JC231 | 2022-05-14 | JC231-009 | 7 | 400 | 0.0021 | 0.4553 | 11.3 | 139.8128 | 1.2645 | 0.001667 | 3.4826e-05 | 248.5468
|  | JC231 | 2022-05-14 | JC231-009 | 10 | 150 | 0.0021 | 0.4553 | 12.1 | 138.1494 | 1.28 | 0.001667 | 3.5254e-05 | 254.6347
|  | JC231 | 2022-05-14 | JC231-009 | 11 | 150 | 0.0021 | 0.4553 | 12.1 | 139.486 | 1.291 | 0.001667 | 3.5557e-05 | 254.3703
|  | JC231 | 2022-05-14 | JC231-009 | 17 | 30 | 0.0021 | 0.4553 | 13.5 | 142.7747 | 1.423 | 0.001667 | 3.9199e-05 | 274.0163
|  | JC231 | 2022-05-14 | JC231-009 | 18 | 30 | 0.0021 | 0.4553 | 13.7 | 138.798 | 1.3865 | 0.001667 | 3.8192e-05 | 274.6125
|  | JC231 | 2022-05-14 | JC231-009 | 18 | 30 | 0.0021 | 0.4553 | 13.7 | 136.3799 | 1.364 | 0.001667 | 3.7571e-05 | 274.9302
|  | JC231 | 2022-05-14 | JC231-009 | 21 | 5 | 0.0021 | 0.4553 | 14.4 | 135.5509 | 1.353 | 0.001667 | 3.7267e-05 | 274.3728
|  | JC231 | 2022-05-14 | JC231-009 | 22 | 5 | 0.0021 | 0.4553 | 14.4 | 141.4698 | 1.406 | 0.001667 | 3.873e-05 | 273.2288
|  | JC231 | 2022-05-14 | JC231-010 | 1 | 100 | 0.0021 | 0.4553 | 12.3 | 139.831 | 1.319 | 0.001667 | 3.633e-05 | 259.2667
|  | JC231 | 2022-05-14 | JC231-010 | 13 | 30 | 0.0021 | 0.4553 | 13.8 | 141.0397 | 1.4025 | 0.001667 | 3.8633e-05 | 273.3772
|  | JC231 | 2022-05-14 | JC231-010 | 21 | 5 | 0.0021 | 0.4553 | 14.2 | 138.7776 | 1.3755 | 0.001667 | 3.7888e-05 | 272.4663
|  | JC231 | 2022-05-15 | JC231-011 | 1 | 4825 | 0.0021 | 0.4553 | 4 | 136.3559 | 1.229 | 0.001667 | 3.3847e-05 | 247.6657
|  | JC231 | 2022-05-15 | JC231-011 | 2 | 4825 | 0.0021 | 0.4553 | 4.1 | 137.737 | 1.2415 | 0.001667 | 3.4192e-05 | 247.6859
|  | JC231 | 2022-05-15 | JC231-011 | 4 | 3950 | 0.0021 | 0.4553 | 4.2 | 137.6662 | 1.2475 | 0.001667 | 3.4357e-05 | 249.0157
|  | JC231 | 2022-05-15 | JC231-011 | 6 | 2580 | 0.0021 | 0.4553 | 4.7 | 138.4752 | 1.3595 | 0.001667 | 3.7447e-05 | 269.8736
|  | JC231 | 2022-05-15 | JC231-011 | 8 | 1847 | 0.0021 | 0.4553 | 5.2 | 138.1456 | 1.4205 | 0.001667 | 3.913e-05 | 282.6991
|  | JC231 | 2022-05-15 | JC231-011 | 13 | 785 | 0.0021 | 0.4553 | 9.4 | 142.7686 | 1.021 | 0.001667 | 2.8109e-05 | 196.3496
|  | JC231 | 2022-05-15 | JC231-011 | 13 | 785 | 0.0021 | 0.4553 | 9.4 | 139.481 | 0.999 | 0.001667 | 2.7502e-05 | 196.6263
|  | JC231 | 2022-05-15 | JC231-011 | 14 | 785 | 0.0021 | 0.4553 | 9.5 | 138.7935 | 0.9925 | 0.001667 | 2.7322e-05 | 196.3084
|  | JC231 | 2022-05-15 | JC231-011 | 15 | 719 | 0.0021 | 0.4553 | 10 | 136.3762 | 1.011 | 0.001667 | 2.7833e-05 | 203.5303
|  | JC231 | 2022-05-15 | JC231-011 | 17 | 640 | 0.0021 | 0.4553 | 10.5 | 138.1379 | 1.13 | 0.001667 | 3.1116e-05 | 224.6997
|  | JC231 | 2022-05-15 | JC231-011 | 18 | 300 | 0.0021 | 0.4553 | 11.7 | 135.55 | 1.2455 | 0.001667 | 3.4302e-05 | 252.4963
|  | JC231 | 2022-05-15 | JC231-011 | 20 | 90 | 0.0021 | 0.4553 | 12.5 | 141.4688 | 1.3265 | 0.001667 | 3.6536e-05 | 257.7278
|  | JC231 | 2022-05-15 | JC231-011 | 22 | 30 | 0.0021 | 0.4553 | 13.7 | 141.0393 | 1.392 | 0.001667 | 3.8343e-05 | 271.3243
|  | JC231 | 2022-05-15 | JC231-011 | 23 | 30 | 0.0021 | 0.4553 | 13.7 | 138.7719 | 1.3705 | 0.001667 | 3.775e-05 | 271.4834
|  | JC231 | 2022-05-15 | JC231-011 | 24 | 5 | 0.0021 | 0.4553 | 13.9 | 139.3882 | 1.37 | 0.001667 | 3.7736e-05 | 270.1841

## Sample data format
Site ID | Start Date/Time (UTC) | End Date/Time (UTC) | Start Latitude | Start Longitude | End Latitude if relevant | End Longitude if relevant | Water depth | Event ID | Sample ID | Sample Depth | Rosette Position /Bottle Number | Bottle Firing Sequence | Parameter | Parameter Flag
None | [dd/mm/yyyy hh:mm:ss] | [dd/mm/yyyy hh:mm:ss] | [+N, -S] 3-decimal places | [+E, -W] 3-decimal places | [+N, -S] 3-decimal places | [+E, -W] 3-decimal places | [m] | None | None | [m] |  |  | unit

## (2c) Model
BODC Idealised Model Metadata Template version 2.1 - updated 18/06/2018
(2c) | Specific information about the content of the data file(s) provided.
* = must complete field. All other fields as appropriate.
* | Model Name: | The full name of the model e.g. Nucleus for European Modelling of the Ocean.
* | Model Acronym: | The standard acronym for the model e.g. NEMO.
* | Software: | Software version used to generate model outputs
| Platform: | If applicable, hardware platform the software code was run on.
*
* | Model Initialisation Parameters:
| Details of any modification to standard model code: | Please complete if applicable
Referencing to force fields:
Please outline files to be submitted to BODC:
* | Files to be submitted: | Please list all files to be submitted to BODC with a brief description e.g. matlab code, configuration files
References to relevant papers:
* | References: | Any references to papers that explain model output results, description of methods for example.

## Reference
BODC Submission Template Reference Lists version 2.2 - updated 28/06/2021
Request a DOI for this dataset? | Data embargoed or public? | Quality Flag (QF) system: | In-situ or laboratory measurement: | Metadata or data: | Parameter measured or derived from calculation: | Relationship of citation to dataset:
[select] | [select] | Not applicable | In-situ | Metadata | Measured | [select]
Yes | Embargoed | Custom | Laboratory | Data | Derived | Is cited by
No | Public | BODC |  |  |  | Cites
|  | ODV |  |  |  | Is supplement to
|  | WOCE |  |  |  | Is supplemented by
Is continued by
Continues
Has metadata
Is metadata for
Is new version of
Is previous version of
Is part of
Has part
Is referenced by
References
Is documented by
Documents
Is compiled by
Compiles
Is variant form of
Is original form of
Is identical to
Is reviewed by
Reviews
Is derived from
Is source of

## Version
Date | Document version | Worksheet version control
|  | Conditions | Decision tree | (1) Dataset overview | (2a) In-situ sensor | (2b) Sample | (2c) Model | Reference lists | Relevant changes
2016-01-01 | v2.0 | n/a | v2.0 | v2.0 | v2.0 | v2.0 | n/a | v2.0 | Major update - release of version 2.0
2016-12-05 | v2.1 | n/a | v2.0 | v2.1 | v2.0 | v2.0 | n/a | v2.0 | Amendment of Cruise Summary Report URL
2018-03-09 | v2.2 | v2.0 | v2.0 | v2.1 | v2.0 | v2.0 | n/a | v2.0 | Addition of 'Privacy Notice' worksheet
2018-03-27 | v2.3 | v2.0 | v2.0 | v2.2 | v2.0 | v2.0 | n/a | v2.1 | Change instances of "Institution(s)" to "Organisation(s)", addition of "ORCid(s)" field, update to DOI and embargo/public default options, and set submission date and embargo date default to dd/mm/yyyy
2018-06-18 | v2.4 | v2.1 | v2.1 | v2.3 | v2.1 | v2.1 | v2.1 | v2.1 | Renaming of 'Privacy Policy' worksheet to 'Conditions' and addition of Data Deposit Conditions information to this worksheet. Update of Decision tree to include model data. Adjustment of guidance notes for "Data embargoed or public" and "Request a DOI for this abstract" on '(1) Dataset overview' worksheet to more accurately reflect NERC policy and service provided, respectively. Integration of separate '(2c) Model' metadata sheet into this spreadsheet. Inclusion of required field note on all template worksheets.
2021-06-28 | v2.5 | v2.1 | v2.1 | v2.4 | v2.1 | v2.1 | v2.1 | v2.2 | Added a tick box in Dataset overview to select whether the data have already been published and added a space at the bottom of Dataset overview to capture existing citations and their relationship to the data being submitted using DataCite terms. Added DataCite terms to Reference tab